{"text_format":"1","workbook":"xlsx","n_sheets":5,"sheets":["入力データ1","入力データ2","限界値","断面分割","Sheet1"],"not_rendered":{"charts":1,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"入力データ1","index":0,"n_rows":5,"n_cols":16,"rows_kept":5,"cut":false,"hidden":false,"merged":[[1,6,1,8],[1,9,1,11],[1,12,1,14]]}
[1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16]
[null,null,null,null,null,null,"鉄筋の1段目(最外縁)",null,null,"鉄筋の2段目",null,null,"鉄筋の3段目"]
["ケース","断面半径rd\n（m）","鉄筋\n段数\nnst","半径分\n分割数\nndv","コンクリート\n強度fck\n（N/mm2）","鉄筋\n仕様","半径\n(m)","90°\n当たり\n分割数","呼び径","半径\n(m)","90°\n当たり\n分割数","呼び径","半径\n(m)","90°\n当たり\n分割数","呼び径","軸力\nN'（kN）"]
[1,1.5,2,100,30,"SD345",1.35,16,"D32",1.25,8,"D32",null,null,null,7070]
[2,1.5,2,100,30,"SD345",1.35,16,"D32",1.25,8,"D32",null,null,null,7070]

{"sheet":"入力データ2","index":1,"n_rows":201,"n_cols":24,"rows_kept":201,"cut":false,"hidden":false,"merged":[]}
[1,2,3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23,24]
["ケース","横拘束筋呼び径\ndias","横拘束筋\n有効長\ndd（cm）","横拘束筋\nピッチ\nss（cm）","横拘束筋\n降伏強度\nfys（N/mm2）","断面形状","軸方向筋\n呼び径\ndiaa","Lp算出の圧縮側軸方向筋本数\nns","Lp算出の横拘束筋有効長ddd（cm）","Lp算出\nのかぶり\nc0（cm）","橋脚高さ\nhp\n(m)","ah","ros","scc","epz","edes","epu","n1","lp","eput2","eput3","betas","betac0","betan"]
[1,"D19",135,15,345,"円形","D32",28,216,13.4,10,2.8650000000000002,5.6592592592592588E-3,37419.288888888885,4.1476888888888888E-3,5162758.9346687915,7.7716513247109535E-3,1.4753708126542111,723.56465256713659,1.7548153151915866E-2,2.4567414412682214E-2,1.1853704369598742E-2,1.34,1.3518537043695988]
[2,"D19",135,15,345,"円形","D32",28,216,13.4,10,2.8650000000000002,5.6592592592592588E-3,37419.288888888885,4.1476888888888888E-3,5162758.9346687915,7.7716513247109535E-3,1.4753708126542111,723.56465256713659,1.7548153151915866E-2,2.4567414412682214E-2,1.1853704369598742E-2,1.34,1.3518537043695988]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,1.0558764930969358E-6,1.0558764930969358E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.2290725965378321E-6,2.2290725965378321E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.4022686999787416E-6,3.4022686999787416E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.5754648034196506E-6,4.5754648034196506E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.74866090686056E-6,5.74866090686056E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.9218570103014695E-6,6.9218570103014695E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.0950531137423789E-6,8.0950531137423789E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,9.2682492171832892E-6,9.2682492171832892E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.0441445320624198E-5,1.0441445320624198E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.1614641424065108E-5,1.1614641424065108E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.2787837527506017E-5,1.2787837527506017E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.3961033630946927E-5,1.3961033630946927E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.5134229734387836E-5,1.5134229734387836E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.6307425837828732E-5,1.6307425837828732E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.7480621941269643E-5,1.7480621941269643E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.865381804471055E-5,1.865381804471055E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.982701414815146E-5,1.982701414815146E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.100021025159237E-5,2.100021025159237E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.217340635503328E-5,2.217340635503328E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.3346602458474187E-5,2.3346602458474187E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.4519798561915098E-5,2.4519798561915098E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.5692994665356008E-5,2.5692994665356008E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.6866190768796918E-5,2.6866190768796918E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.8039386872237825E-5,2.8039386872237825E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.9212582975678735E-5,2.9212582975678735E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.0385779079119646E-5,3.0385779079119646E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.1558975182560542E-5,3.1558975182560542E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.2732171286001453E-5,3.2732171286001453E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.3905367389442363E-5,3.3905367389442363E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.5078563492883273E-5,3.5078563492883273E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.6251759596324177E-5,3.6251759596324177E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.7424955699765087E-5,3.7424955699765087E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.8598151803205984E-5,3.8598151803205984E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.9771347906646894E-5,3.9771347906646894E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.0944544010087804E-5,4.0944544010087804E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.2117740113528715E-5,4.2117740113528715E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.3290936216969625E-5,4.3290936216969625E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.4464132320410535E-5,4.4464132320410535E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.5637328423851446E-5,4.5637328423851446E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.6810524527292349E-5,4.6810524527292349E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.7983720630733259E-5,4.7983720630733259E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.915691673417417E-5,4.915691673417417E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.033011283761508E-5,5.033011283761508E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.150330894105599E-5,5.150330894105599E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.2676505044496901E-5,5.2676505044496901E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.3849701147937811E-5,5.3849701147937811E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.5022897251378714E-5,5.5022897251378714E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.6196093354819625E-5,5.6196093354819625E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.7369289458260535E-5,5.7369289458260535E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.8542485561701445E-5,5.8542485561701445E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.9715681665142355E-5,5.9715681665142355E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.0888877768583266E-5,6.0888877768583266E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.2062073872024169E-5,6.2062073872024169E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.323526997546508E-5,6.323526997546508E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.440846607890599E-5,6.440846607890599E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.55816621823469E-5,6.55816621823469E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.675485828578781E-5,6.675485828578781E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.7928054389228694E-5,6.7928054389228694E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.9101250492669604E-5,6.9101250492669604E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.0274446596110514E-5,7.0274446596110514E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.1447642699551425E-5,7.1447642699551425E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.2620838802992335E-5,7.2620838802992335E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.3794034906433245E-5,7.3794034906433245E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.4967231009874155E-5,7.4967231009874155E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.6140427113315066E-5,7.6140427113315066E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.7313623216755976E-5,7.7313623216755976E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.8486819320196886E-5,7.8486819320196886E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.9660015423637783E-5,7.9660015423637783E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.0833211527078693E-5,8.0833211527078693E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.2006407630519604E-5,8.2006407630519604E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.3179603733960514E-5,8.3179603733960514E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.4352799837401424E-5,8.4352799837401424E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.5525995940842334E-5,8.5525995940842334E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.8452380952385591E-6,6.8452380952385591E-6,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.0535714285714766E-5,2.0535714285714766E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.4226190476190973E-5,3.4226190476190973E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.7916666666667176E-5,4.7916666666667176E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.1607142857143387E-5,6.1607142857143387E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.5297619047619583E-5,7.5297619047619583E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.8988095238095794E-5,8.8988095238095794E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.02678571428572E-4,1.02678571428572E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.163690476190482E-4,1.163690476190482E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.300595238095241E-4,1.300595238095241E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.4375000000000032E-4,1.4375000000000032E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.5744047619047652E-4,1.5744047619047652E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.7113095238095272E-4,1.7113095238095272E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.8482142857142894E-4,1.8482142857142894E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.9851190476190514E-4,1.9851190476190514E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.1220238095238133E-4,2.1220238095238133E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.2589285714285756E-4,2.2589285714285756E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.3958333333333375E-4,2.3958333333333375E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.5327380952380995E-4,2.5327380952380995E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.6696428571428617E-4,2.6696428571428617E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.8065476190476234E-4,2.8065476190476234E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.9434523809523857E-4,2.9434523809523857E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.0803571428571479E-4,3.0803571428571479E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.2172619047619096E-4,3.2172619047619096E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.3541666666666719E-4,3.3541666666666719E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.4910714285714341E-4,3.4910714285714341E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.2415791902861049E-5,3.2415791902861049E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.5657371093136359E-4,3.5657371093136359E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.8073162995986613E-4,6.8073162995986613E-4,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.0048895489883686E-3,1.0048895489883686E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.3290474680168712E-3,1.3290474680168712E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.6532053870453737E-3,1.6532053870453737E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.9773633060738761E-3,1.9773633060738761E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.301521225102379E-3,2.301521225102379E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.625679144130874E-3,2.625679144130874E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,2.9498370631593765E-3,2.9498370631593765E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.2739949821878793E-3,3.2739949821878793E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.5981529012163818E-3,3.5981529012163818E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,3.9223108202448842E-3,3.9223108202448842E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.2464687392733871E-3,4.2464687392733871E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.5706266583018891E-3,4.5706266583018891E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,4.8947845773303919E-3,4.8947845773303919E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.2189424963588948E-3,5.2189424963588948E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.5431004153873968E-3,5.5431004153873968E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,5.8672583344158997E-3,5.8672583344158997E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.1914162534444017E-3,6.1914162534444017E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.5155741724729046E-3,6.5155741724729046E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,6.8397320915014074E-3,6.8397320915014074E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.1638900105299094E-3,7.1638900105299094E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.4880479295584123E-3,7.4880479295584123E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,7.8122058485869143E-3,7.8122058485869143E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.136363767615418E-3,8.136363767615418E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.4605216866439192E-3,8.4605216866439192E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,8.784679605672422E-3,8.784679605672422E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,9.1088375247009249E-3,9.1088375247009249E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,9.4329954437294278E-3,9.4329954437294278E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,9.7571533627579306E-3,9.7571533627579306E-3,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,1.0081311281786432E-2,1.0081311281786432E-2,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]
[null,-5.6598383420803241E-5,-5.6598383420803241E-5,32289.38057142857,3.3254308571428574E-3,3346232.6428408828,1.5308772772143204]

{"sheet":"限界値","index":2,"n_rows":3,"n_cols":16,"rows_kept":3,"cut":false,"hidden":false,"merged":[[3,17,3,18],[3,19,3,20]]}
["ケース","ひび割れφ（1/m）","ひび割れM（kNm）","ひび割れx（cm）","初期降伏φ（1/m）","初期降伏M（kNm）","初期降伏x（cm）","引張限界(性能2)φ（1/m）","引張限界(性能2)M（kNm）","引張限界(性能2)x（cm）","引張限界(性能3)φ（1/m）","引張限界(性能3)M（kNm）","引張限界(性能3)x（cm）","圧縮限界φ（1/m）","圧縮限界M（kNm）","圧縮限界x（cm）"]
[1,7.5194790941331865E-5,9230.7324212916938,194.52985293292102,9.1487726955130503E-4,28011.687301066864,96.450000000000074,7.814812283406412E-3,38757.148060313317,60.450000000000045,1.0796495314519209E-2,39123.770726952847,57.450000000000045,1.8978646161139333E-2,38710.005199435152,55.950000000000031]
[2,7.5194790941331865E-5,9230.7324212916938,194.52985293292102,9.1487726955130503E-4,28011.687301066864,96.450000000000074,7.814812283406412E-3,38757.148060313317,60.450000000000045,1.0796495314519209E-2,39123.770726952847,57.450000000000045,1.8978646161139333E-2,38710.005199435152,55.950000000000031]

{"sheet":"断面分割","index":3,"n_rows":405,"n_cols":9,"rows_kept":405,"cut":false,"hidden":false,"merged":[]}
[1]
["番号","yy(i)（m）","ar(i)（m2）",null,"番号","yall(i)（m）","ars(i)（m2）",1.4999999993224438]
[1,7.4999999999999997E-3,4.4943714799736212E-3,null,1,0.14999999999999991,7.9420000000000001E-4]
[2,2.2499999999999999E-2,7.764945267031826E-3,null,2,0.15650062042497437,1.5884E-3]
[3,3.7499999999999999E-2,9.9992187194800474E-3,null,3,0.17593987715780957,1.5884E-3]
[4,5.2499999999999998E-2,1.1801244637749028E-2,null,4,0.20813055948833664,1.5884E-3]
[5,6.7500000000000004E-2,1.3347260954967497E-2,null,5,0.25,7.9420000000000001E-4]
[6,8.249999999999999E-2,1.4718164797283665E-2,null,6,0.25276265348018312,1.5884E-3]
[7,9.7500000000000003E-2,1.5959147063674791E-2,null,7,0.27401840477574968,1.5884E-3]
[8,0.11249999999999999,1.7098519672767001E-2,null,8,0.30940632757510761,1.5884E-3]
[9,0.1275,1.8155422743632264E-2,null,9,0.34515060507424372,1.5884E-3]
[10,0.14250000000000002,1.8349320444265214E-2,null,10,0.3775160721067885,1.5884E-3]
[11,0.1575,1.848457623672185E-2,null,11,0.45643595285827426,1.5884E-3]
[12,0.17249999999999999,1.9363196001259658E-2,null,12,0.46066302972850792,1.5884E-3]
[13,0.1875,2.1785531322416719E-2,null,13,0.545405928068454,1.5884E-3]
[14,0.20250000000000001,2.0991333722964942E-2,null,14,0.61611660006338331,1.5884E-3]
[15,0.2175,2.3338259896573267E-2,null,15,0.64356916805131192,1.5884E-3]
[16,0.23249999999999998,2.4064483684467446E-2,null,16,0.74998030693601214,1.5884E-3]
[17,0.2475,2.2378647444343348E-2,null,17,0.80553732123704835,1.5884E-3]
[18,0.26250000000000001,2.5430972749778957E-2,null,18,0.86361454705903051,1.5884E-3]
[19,0.27750000000000002,2.448734303831053E-2,null,19,0.98337752832804104,1.5884E-3]
[20,0.29249999999999998,2.669736644315315E-2,null,20,1.0216458595630011,1.5884E-3]
[21,0.3075,2.5709024329046141E-2,null,21,1.1081158675101652,1.5884E-3]
[22,0.32250000000000001,2.7877309321381789E-2,null,22,1.2366282659454546,1.5884E-3]
[23,0.33749999999999997,2.8438255484470206E-2,null,23,1.2561372832828284,1.5884E-3]
[24,0.35249999999999998,2.7392962545608517E-2,null,24,1.3676770787122348,1.5884E-3]
[25,0.36749999999999999,2.950761554243243E-2,null,25,1.5000002165063793,1.5884E-3]
[26,0.38250000000000001,2.8429500909290778E-2,null,26,1.5000002338268896,1.5884E-3]
[27,0.39750000000000002,3.0513019762062228E-2,null,27,1.6323229212877652,1.5884E-3]
[28,0.41249999999999998,3.0993698956400799E-2,null,28,1.7438627167171716,1.5884E-3]
[29,0.42749999999999999,3.1460600359815134E-2,null,29,1.7633717340545454,1.5884E-3]
[30,0.4425,3.1914328678510531E-2,null,30,1.8918841324898348,1.5884E-3]
[31,0.45749999999999996,2.91786381055179E-2,null,31,1.9783541404369989,1.5884E-3]
[32,0.47249999999999998,3.2784438000368399E-2,null,32,2.0166224716719592,1.5884E-3]
[33,0.48749999999999999,3.3201797767590843E-2,null,33,2.1363854529409694,1.5884E-3]
[34,0.50249999999999995,3.3607951068162424E-2,null,34,2.1944626787629518,1.5884E-3]
[35,0.51749999999999996,3.4003299472257095E-2,null,35,2.250019693063988,1.5884E-3]
[36,0.53249999999999997,3.4388215641408315E-2,null,36,2.3564308319486882,1.5884E-3]
[37,0.54749999999999999,3.3174646112215198E-2,null,37,2.3838833999366167,1.5884E-3]
[38,0.56249999999999989,3.5128113740990986E-2,null,38,2.4545940719315462,1.5884E-3]
[39,0.5774999999999999,3.5483719858549208E-2,null,39,2.5393369702714921,1.5884E-3]
[40,0.59249999999999992,3.5830146176090323E-2,null,40,2.5435640471417256,1.5884E-3]
[41,0.60749999999999993,3.6167656476470793E-2,null,41,2.6224839278932115,1.5884E-3]
[42,0.62249999999999994,3.4908098119682658E-2,null,42,2.6548493949257561,1.5884E-3]
[43,0.63749999999999996,3.5228503386895531E-2,null,43,2.6905936724248924,1.5884E-3]
[44,0.65249999999999997,3.7129090683721298E-2,null,44,2.7259815952242503,1.5884E-3]
[45,0.66749999999999987,3.743326562030088E-2,null,45,2.747237346519817,1.5884E-3]
[46,0.68249999999999988,3.7729621983264017E-2,null,46,2.75,7.9420000000000001E-4]
[47,0.6974999999999999,3.8018342612481146E-2,null,47,2.7918694405116633,1.5884E-3]
[48,0.71249999999999991,3.8299600193735704E-2,null,48,2.8240601228421904,1.5884E-3]
[49,0.72749999999999992,3.8573557976935444E-2,null,49,2.8434993795750256,1.5884E-3]
[50,0.74249999999999994,3.7251970428202663E-2,null,50,2.85,7.9420000000000001E-4]
[51,0.75749999999999995,3.9100183823097302E-2,null,null,null,null,{"$f":"SUM(C3:C202)+SUM(G3:G52)","v":7.0725347302750201},{"$f":"PI()/4*3^2","v":7.0685834705770345}]
[52,0.77249999999999996,3.9353136787300701E-2]
[53,0.78749999999999998,3.9599360790295586E-2]
[54,0.80249999999999988,3.8250580596897808E-2]
[55,0.81749999999999989,4.0072114680909966E-2]
[56,0.83249999999999991,4.0298875604661728E-2]
[57,0.84749999999999992,4.051937036776361E-2]
[58,0.86249999999999993,3.9145300728021269E-2]
[59,0.87749999999999995,4.0941963497126026E-2]
[60,0.89249999999999996,4.1144250813449017E-2]
[61,0.90749999999999986,4.1340650394012905E-2]
[62,0.92249999999999988,4.1531245767494139E-2]
[63,0.93749999999999989,4.1716116489913101E-2]
[64,0.9524999999999999,4.189533834449842E-2]
[65,0.96749999999999992,4.2068983527059456E-2]
[66,0.98249999999999993,4.0648720818067134E-2]
[67,0.99749999999999994,4.2399815742524161E-2]
[68,1.0125,4.2557130718599907E-2]
[69,1.0275000000000001,4.1120725195911006E-2]
[70,1.0425,4.2855855784244931E-2]
[71,1.0575000000000001,4.2997376373448644E-2]
[72,1.0725,4.3133738245137061E-2]
[73,1.0875000000000001,4.3264990176816176E-2]
[74,1.1025,4.1802778538961118E-2]
[75,1.1174999999999999,4.3512347385541036E-2]
[76,1.1325000000000001,4.3628538538438344E-2]
[77,1.1475,4.3739791666170515E-2]
[78,1.1625000000000001,4.3846144357286426E-2]
[79,1.1775,4.3947632188776675E-2]
[80,1.1925000000000001,4.4044288789807921E-2]
[81,1.2075,4.4136145901063906E-2]
[82,1.2224999999999999,4.4223233429951728E-2]
[83,1.2375,4.2717179501909237E-2]
[84,1.2524999999999999,4.2794810508028823E-2]
[85,1.2675000000000001,4.4456151149194191E-2]
[86,1.2825,4.4524424476909297E-2]
[87,1.2975000000000001,4.4588051930982586E-2]
[88,1.3125,4.4647053374214964E-2]
[89,1.3274999999999999,4.4701447124226301E-2]
[90,1.3425,4.4751249982542388E-2]
[91,1.3574999999999999,4.4796477261052563E-2]
[92,1.3725000000000001,4.3248742805937136E-2]
[93,1.3875,4.4873259019153046E-2]
[94,1.4025000000000001,4.4904836877556961E-2]
[95,1.4175,4.4931885949735073E-2]
[96,1.4325000000000001,4.4954414410600434E-2]
[97,1.4475,4.4972429053810291E-2]
[98,1.4624999999999999,4.4985935302047461E-2]
[99,1.4775,4.4994937215202334E-2]
[100,1.4924999999999999,4.4999437496484322E-2]
[101,1.5075000000000001,4.4999437496484322E-2]
[102,1.5225,4.4994937215202334E-2]
[103,1.5375000000000001,4.4985935302047461E-2]
[104,1.5525,4.4972429053810291E-2]
[105,1.5674999999999999,4.4954414410600434E-2]
[106,1.5825,4.4931885949735073E-2]
[107,1.5974999999999999,4.4904836877556961E-2]
[108,1.6125,4.4873259019153046E-2]
[109,1.6274999999999999,4.3248742805937136E-2]
[110,1.6425000000000001,4.4796477261052563E-2]
[111,1.6575,4.4751249982542388E-2]
[112,1.6725000000000001,4.4701447124226301E-2]
[113,1.6875,4.4647053374214964E-2]
[114,1.7024999999999999,4.4588051930982586E-2]
[115,1.7175,4.4524424476909297E-2]
[116,1.7324999999999999,4.4456151149194191E-2]
[117,1.7475000000000001,4.2794810508028823E-2]
[118,1.7625,4.2717179501909237E-2]
[119,1.7775000000000001,4.4223233429951728E-2]
[120,1.7925,4.4136145901063906E-2]
[121,1.8074999999999999,4.4044288789807921E-2]
[122,1.8225,4.3947632188776675E-2]
[123,1.8374999999999999,4.3846144357286426E-2]
[124,1.8525,4.3739791666170515E-2]
[125,1.8674999999999999,4.3628538538438344E-2]
[126,1.8825000000000001,4.3512347385541036E-2]
[127,1.8975,4.1802778538961118E-2]
[128,1.9124999999999999,4.3264990176816176E-2]
[129,1.9275,4.3133738245137061E-2]
[130,1.9424999999999999,4.2997376373448644E-2]
[131,1.9575,4.2855855784244931E-2]
[132,1.9724999999999999,4.1120725195911006E-2]
[133,1.9875,4.2557130718599907E-2]
[134,2.0024999999999999,4.2399815742524161E-2]
[135,2.0175000000000001,4.0648720818067134E-2]
[136,2.0325000000000002,4.2068983527059456E-2]
[137,2.0475000000000003,4.189533834449842E-2]
[138,2.0625,4.1716116489913101E-2]
[139,2.0775000000000001,4.1531245767494139E-2]
[140,2.0925000000000002,4.1340650394012905E-2]
[141,2.1074999999999999,4.1144250813449017E-2]
[142,2.1225000000000001,4.0941963497126026E-2]
[143,2.1375000000000002,3.9145300728021269E-2]
[144,2.1524999999999999,4.051937036776361E-2]
[145,2.1675,4.0298875604661728E-2]
[146,2.1825000000000001,4.0072114680909966E-2]
[147,2.1975000000000002,3.8250580596897808E-2]
[148,2.2124999999999999,3.9599360790295586E-2]
[149,2.2275,3.9353136787300701E-2]
[150,2.2425000000000002,3.9100183823097302E-2]
[151,2.2575000000000003,3.7251970428202663E-2]
[152,2.2725,3.8573557976935444E-2]
[153,2.2875000000000001,3.8299600193735704E-2]
[154,2.3025000000000002,3.8018342612481146E-2]
[155,2.3174999999999999,3.7729621983264017E-2]
[156,2.3325,3.743326562030088E-2]
[157,2.3475000000000001,3.7129090683721298E-2]
[158,2.3624999999999998,3.5228503386895531E-2]
[159,2.3774999999999999,3.4908098119682658E-2]
[160,2.3925000000000001,3.6167656476470793E-2]
[161,2.4075000000000002,3.5830146176090323E-2]
[162,2.4225000000000003,3.5483719858549208E-2]
[163,2.4375,3.5128113740990986E-2]
[164,2.4525000000000001,3.3174646112215198E-2]
[165,2.4675000000000002,3.4388215641408315E-2]
[166,2.4824999999999999,3.4003299472257095E-2]
[167,2.4975000000000001,3.3607951068162424E-2]
[168,2.5125000000000002,3.3201797767590843E-2]
[169,2.5274999999999999,3.2784438000368399E-2]
[170,2.5425,2.91786381055179E-2]
[171,2.5575000000000001,3.1914328678510531E-2]
[172,2.5724999999999998,3.1460600359815134E-2]
[173,2.5874999999999999,3.0993698956400799E-2]
[174,2.6025,3.0513019762062228E-2]
[175,2.6175000000000002,2.8429500909290778E-2]
[176,2.6324999999999998,2.950761554243243E-2]
[177,2.6475,2.7392962545608517E-2]
[178,2.6625000000000001,2.8438255484470206E-2]
[179,2.6775000000000002,2.7877309321381789E-2]
[180,2.6924999999999999,2.5709024329046141E-2]
[181,2.7075,2.669736644315315E-2]
[182,2.7225000000000001,2.448734303831053E-2]
[183,2.7374999999999998,2.5430972749778957E-2]
[184,2.7524999999999999,2.2378647444343348E-2]
[185,2.7675000000000001,2.4064483684467446E-2]
[186,2.7825000000000002,2.3338259896573267E-2]
[187,2.7974999999999999,2.0991333722964942E-2]
[188,2.8125,2.1785531322416719E-2]
[189,2.8275000000000001,1.9363196001259658E-2]
[190,2.8424999999999998,1.848457623672185E-2]
[191,2.8574999999999999,1.8349320444265214E-2]
[192,2.8725000000000001,1.8155422743632264E-2]
[193,2.8875000000000002,1.7098519672767001E-2]
[194,2.9024999999999999,1.5959147063674791E-2]
[195,2.9175,1.4718164797283665E-2]
[196,2.9325000000000001,1.3347260954967497E-2]
[197,2.9474999999999998,1.1801244637749028E-2]
[198,2.9624999999999999,9.9992187194800474E-3]
[199,2.9775,7.764945267031826E-3]
[200,2.9925000000000002,4.4943714799736212E-3]
[]
[2]
["番号","yy(i)（m）","ar(i)（m2）",null,"番号","yall(i)（m）","ars(i)（m2）",1.4999999993224438]
[1,7.4999999999999997E-3,4.4943714799736212E-3,null,1,0.14999999999999991,7.9420000000000001E-4]
[2,2.2499999999999999E-2,7.764945267031826E-3,null,2,0.15650062042497437,1.5884E-3]
[3,3.7499999999999999E-2,9.9992187194800474E-3,null,3,0.17593987715780957,1.5884E-3]
[4,5.2499999999999998E-2,1.1801244637749028E-2,null,4,0.20813055948833664,1.5884E-3]
[5,6.7500000000000004E-2,1.3347260954967497E-2,null,5,0.25,7.9420000000000001E-4]
[6,8.249999999999999E-2,1.4718164797283665E-2,null,6,0.25276265348018312,1.5884E-3]
[7,9.7500000000000003E-2,1.5959147063674791E-2,null,7,0.27401840477574968,1.5884E-3]
[8,0.11249999999999999,1.7098519672767001E-2,null,8,0.30940632757510761,1.5884E-3]
[9,0.1275,1.8155422743632264E-2,null,9,0.34515060507424372,1.5884E-3]
[10,0.14250000000000002,1.8349320444265214E-2,null,10,0.3775160721067885,1.5884E-3]
[11,0.1575,1.848457623672185E-2,null,11,0.45643595285827426,1.5884E-3]
[12,0.17249999999999999,1.9363196001259658E-2,null,12,0.46066302972850792,1.5884E-3]
[13,0.1875,2.1785531322416719E-2,null,13,0.545405928068454,1.5884E-3]
[14,0.20250000000000001,2.0991333722964942E-2,null,14,0.61611660006338331,1.5884E-3]
[15,0.2175,2.3338259896573267E-2,null,15,0.64356916805131192,1.5884E-3]
[16,0.23249999999999998,2.4064483684467446E-2,null,16,0.74998030693601214,1.5884E-3]
[17,0.2475,2.2378647444343348E-2,null,17,0.80553732123704835,1.5884E-3]
[18,0.26250000000000001,2.5430972749778957E-2,null,18,0.86361454705903051,1.5884E-3]
[19,0.27750000000000002,2.448734303831053E-2,null,19,0.98337752832804104,1.5884E-3]
[20,0.29249999999999998,2.669736644315315E-2,null,20,1.0216458595630011,1.5884E-3]
[21,0.3075,2.5709024329046141E-2,null,21,1.1081158675101652,1.5884E-3]
[22,0.32250000000000001,2.7877309321381789E-2,null,22,1.2366282659454546,1.5884E-3]
[23,0.33749999999999997,2.8438255484470206E-2,null,23,1.2561372832828284,1.5884E-3]
[24,0.35249999999999998,2.7392962545608517E-2,null,24,1.3676770787122348,1.5884E-3]
[25,0.36749999999999999,2.950761554243243E-2,null,25,1.5000002165063793,1.5884E-3]
[26,0.38250000000000001,2.8429500909290778E-2,null,26,1.5000002338268896,1.5884E-3]
[27,0.39750000000000002,3.0513019762062228E-2,null,27,1.6323229212877652,1.5884E-3]
[28,0.41249999999999998,3.0993698956400799E-2,null,28,1.7438627167171716,1.5884E-3]
[29,0.42749999999999999,3.1460600359815134E-2,null,29,1.7633717340545454,1.5884E-3]
[30,0.4425,3.1914328678510531E-2,null,30,1.8918841324898348,1.5884E-3]
[31,0.45749999999999996,2.91786381055179E-2,null,31,1.9783541404369989,1.5884E-3]
[32,0.47249999999999998,3.2784438000368399E-2,null,32,2.0166224716719592,1.5884E-3]
[33,0.48749999999999999,3.3201797767590843E-2,null,33,2.1363854529409694,1.5884E-3]
[34,0.50249999999999995,3.3607951068162424E-2,null,34,2.1944626787629518,1.5884E-3]
[35,0.51749999999999996,3.4003299472257095E-2,null,35,2.250019693063988,1.5884E-3]
[36,0.53249999999999997,3.4388215641408315E-2,null,36,2.3564308319486882,1.5884E-3]
[37,0.54749999999999999,3.3174646112215198E-2,null,37,2.3838833999366167,1.5884E-3]
[38,0.56249999999999989,3.5128113740990986E-2,null,38,2.4545940719315462,1.5884E-3]
[39,0.5774999999999999,3.5483719858549208E-2,null,39,2.5393369702714921,1.5884E-3]
[40,0.59249999999999992,3.5830146176090323E-2,null,40,2.5435640471417256,1.5884E-3]
[41,0.60749999999999993,3.6167656476470793E-2,null,41,2.6224839278932115,1.5884E-3]
[42,0.62249999999999994,3.4908098119682658E-2,null,42,2.6548493949257561,1.5884E-3]
[43,0.63749999999999996,3.5228503386895531E-2,null,43,2.6905936724248924,1.5884E-3]
[44,0.65249999999999997,3.7129090683721298E-2,null,44,2.7259815952242503,1.5884E-3]
[45,0.66749999999999987,3.743326562030088E-2,null,45,2.747237346519817,1.5884E-3]
[46,0.68249999999999988,3.7729621983264017E-2,null,46,2.75,7.9420000000000001E-4]
[47,0.6974999999999999,3.8018342612481146E-2,null,47,2.7918694405116633,1.5884E-3]
[48,0.71249999999999991,3.8299600193735704E-2,null,48,2.8240601228421904,1.5884E-3]
[49,0.72749999999999992,3.8573557976935444E-2,null,49,2.8434993795750256,1.5884E-3]
[50,0.74249999999999994,3.7251970428202663E-2,null,50,2.85,7.9420000000000001E-4]
[51,0.75749999999999995,3.9100183823097302E-2]
[52,0.77249999999999996,3.9353136787300701E-2]
[53,0.78749999999999998,3.9599360790295586E-2]
[54,0.80249999999999988,3.8250580596897808E-2]
[55,0.81749999999999989,4.0072114680909966E-2]
[56,0.83249999999999991,4.0298875604661728E-2]
[57,0.84749999999999992,4.051937036776361E-2]
[58,0.86249999999999993,3.9145300728021269E-2]
[59,0.87749999999999995,4.0941963497126026E-2]
[60,0.89249999999999996,4.1144250813449017E-2]
[61,0.90749999999999986,4.1340650394012905E-2]
[62,0.92249999999999988,4.1531245767494139E-2]
[63,0.93749999999999989,4.1716116489913101E-2]
[64,0.9524999999999999,4.189533834449842E-2]
[65,0.96749999999999992,4.2068983527059456E-2]
[66,0.98249999999999993,4.0648720818067134E-2]
[67,0.99749999999999994,4.2399815742524161E-2]
[68,1.0125,4.2557130718599907E-2]
[69,1.0275000000000001,4.1120725195911006E-2]
[70,1.0425,4.2855855784244931E-2]
[71,1.0575000000000001,4.2997376373448644E-2]
[72,1.0725,4.3133738245137061E-2]
[73,1.0875000000000001,4.3264990176816176E-2]
[74,1.1025,4.1802778538961118E-2]
[75,1.1174999999999999,4.3512347385541036E-2]
[76,1.1325000000000001,4.3628538538438344E-2]
[77,1.1475,4.3739791666170515E-2]
[78,1.1625000000000001,4.3846144357286426E-2]
[79,1.1775,4.3947632188776675E-2]
[80,1.1925000000000001,4.4044288789807921E-2]
[81,1.2075,4.4136145901063906E-2]
[82,1.2224999999999999,4.4223233429951728E-2]
[83,1.2375,4.2717179501909237E-2]
[84,1.2524999999999999,4.2794810508028823E-2]
[85,1.2675000000000001,4.4456151149194191E-2]
[86,1.2825,4.4524424476909297E-2]
[87,1.2975000000000001,4.4588051930982586E-2]
[88,1.3125,4.4647053374214964E-2]
[89,1.3274999999999999,4.4701447124226301E-2]
[90,1.3425,4.4751249982542388E-2]
[91,1.3574999999999999,4.4796477261052563E-2]
[92,1.3725000000000001,4.3248742805937136E-2]
[93,1.3875,4.4873259019153046E-2]
[94,1.4025000000000001,4.4904836877556961E-2]
[95,1.4175,4.4931885949735073E-2]
[96,1.4325000000000001,4.4954414410600434E-2]
[97,1.4475,4.4972429053810291E-2]
[98,1.4624999999999999,4.4985935302047461E-2]
[99,1.4775,4.4994937215202334E-2]
[100,1.4924999999999999,4.4999437496484322E-2]
[101,1.5075000000000001,4.4999437496484322E-2]
[102,1.5225,4.4994937215202334E-2]
[103,1.5375000000000001,4.4985935302047461E-2]
[104,1.5525,4.4972429053810291E-2]
[105,1.5674999999999999,4.4954414410600434E-2]
[106,1.5825,4.4931885949735073E-2]
[107,1.5974999999999999,4.4904836877556961E-2]
[108,1.6125,4.4873259019153046E-2]
[109,1.6274999999999999,4.3248742805937136E-2]
[110,1.6425000000000001,4.4796477261052563E-2]
[111,1.6575,4.4751249982542388E-2]
[112,1.6725000000000001,4.4701447124226301E-2]
[113,1.6875,4.4647053374214964E-2]
[114,1.7024999999999999,4.4588051930982586E-2]
[115,1.7175,4.4524424476909297E-2]
[116,1.7324999999999999,4.4456151149194191E-2]
[117,1.7475000000000001,4.2794810508028823E-2]
[118,1.7625,4.2717179501909237E-2]
[119,1.7775000000000001,4.4223233429951728E-2]
[120,1.7925,4.4136145901063906E-2]
[121,1.8074999999999999,4.4044288789807921E-2]
[122,1.8225,4.3947632188776675E-2]
[123,1.8374999999999999,4.3846144357286426E-2]
[124,1.8525,4.3739791666170515E-2]
[125,1.8674999999999999,4.3628538538438344E-2]
[126,1.8825000000000001,4.3512347385541036E-2]
[127,1.8975,4.1802778538961118E-2]
[128,1.9124999999999999,4.3264990176816176E-2]
[129,1.9275,4.3133738245137061E-2]
[130,1.9424999999999999,4.2997376373448644E-2]
[131,1.9575,4.2855855784244931E-2]
[132,1.9724999999999999,4.1120725195911006E-2]
[133,1.9875,4.2557130718599907E-2]
[134,2.0024999999999999,4.2399815742524161E-2]
[135,2.0175000000000001,4.0648720818067134E-2]
[136,2.0325000000000002,4.2068983527059456E-2]
[137,2.0475000000000003,4.189533834449842E-2]
[138,2.0625,4.1716116489913101E-2]
[139,2.0775000000000001,4.1531245767494139E-2]
[140,2.0925000000000002,4.1340650394012905E-2]
[141,2.1074999999999999,4.1144250813449017E-2]
[142,2.1225000000000001,4.0941963497126026E-2]
[143,2.1375000000000002,3.9145300728021269E-2]
[144,2.1524999999999999,4.051937036776361E-2]
[145,2.1675,4.0298875604661728E-2]
[146,2.1825000000000001,4.0072114680909966E-2]
[147,2.1975000000000002,3.8250580596897808E-2]
[148,2.2124999999999999,3.9599360790295586E-2]
[149,2.2275,3.9353136787300701E-2]
[150,2.2425000000000002,3.9100183823097302E-2]
[151,2.2575000000000003,3.7251970428202663E-2]
[152,2.2725,3.8573557976935444E-2]
[153,2.2875000000000001,3.8299600193735704E-2]
[154,2.3025000000000002,3.8018342612481146E-2]
[155,2.3174999999999999,3.7729621983264017E-2]
[156,2.3325,3.743326562030088E-2]
[157,2.3475000000000001,3.7129090683721298E-2]
[158,2.3624999999999998,3.5228503386895531E-2]
[159,2.3774999999999999,3.4908098119682658E-2]
[160,2.3925000000000001,3.6167656476470793E-2]
[161,2.4075000000000002,3.5830146176090323E-2]
[162,2.4225000000000003,3.5483719858549208E-2]
[163,2.4375,3.5128113740990986E-2]
[164,2.4525000000000001,3.3174646112215198E-2]
[165,2.4675000000000002,3.4388215641408315E-2]
[166,2.4824999999999999,3.4003299472257095E-2]
[167,2.4975000000000001,3.3607951068162424E-2]
[168,2.5125000000000002,3.3201797767590843E-2]
[169,2.5274999999999999,3.2784438000368399E-2]
[170,2.5425,2.91786381055179E-2]
[171,2.5575000000000001,3.1914328678510531E-2]
[172,2.5724999999999998,3.1460600359815134E-2]
[173,2.5874999999999999,3.0993698956400799E-2]
[174,2.6025,3.0513019762062228E-2]
[175,2.6175000000000002,2.8429500909290778E-2]
[176,2.6324999999999998,2.950761554243243E-2]
[177,2.6475,2.7392962545608517E-2]
[178,2.6625000000000001,2.8438255484470206E-2]
[179,2.6775000000000002,2.7877309321381789E-2]
[180,2.6924999999999999,2.5709024329046141E-2]
[181,2.7075,2.669736644315315E-2]
[182,2.7225000000000001,2.448734303831053E-2]
[183,2.7374999999999998,2.5430972749778957E-2]
[184,2.7524999999999999,2.2378647444343348E-2]
[185,2.7675000000000001,2.4064483684467446E-2]
[186,2.7825000000000002,2.3338259896573267E-2]
[187,2.7974999999999999,2.0991333722964942E-2]
[188,2.8125,2.1785531322416719E-2]
[189,2.8275000000000001,1.9363196001259658E-2]
[190,2.8424999999999998,1.848457623672185E-2]
[191,2.8574999999999999,1.8349320444265214E-2]
[192,2.8725000000000001,1.8155422743632264E-2]
[193,2.8875000000000002,1.7098519672767001E-2]
[194,2.9024999999999999,1.5959147063674791E-2]
[195,2.9175,1.4718164797283665E-2]
[196,2.9325000000000001,1.3347260954967497E-2]
[197,2.9474999999999998,1.1801244637749028E-2]
[198,2.9624999999999999,9.9992187194800474E-3]
[199,2.9775,7.764945267031826E-3]
[200,2.9925000000000002,4.4943714799736212E-3]

{"sheet":"Sheet1","index":4,"n_rows":19,"n_cols":12,"rows_kept":19,"cut":false,"hidden":false,"merged":[[18,1,18,11],[2,1,3,1],[11,1,12,1],[2,8,2,9],[2,10,2,11],[11,8,11,9],[11,10,11,11],[2,2,2,3],[2,4,2,5],[2,6,2,7],[11,2,11,3],[11,4,11,5],[11,6,11,7]]}
[]
[null,"橋軸方向"]
[null,null,"限界値計算",null,"Mφ計算",null,"道示計算例",null,"比（限界値計算）",null,"比（Mφ計算）"]
[null,null,"φ","M","φ","M","φ","M","φ","M","φ","M"]
[null,"ひび割れ",7.5194790941331865E-5,9230.7324212916938,8.0000000000000007E-5,8954.5046744571264,7.4980000000000004E-5,9340,{"$f":"C5/G5","v":1.0028646431225909},{"$f":"D5/H5","v":0.98830111576998858},{"$f":"E5/G5","v":1.0669511869831956},{"$f":"F5/H5","v":0.95872641054144825}]
[null,"初期降伏",9.1487726955130503E-4,28011.687301066864,9.2000000000000003E-4,28117.471026483166,9.0899999999999998E-4,27960,{"$f":"C6/G6","v":1.0064656430707426},{"$f":"D6/H6","v":1.0018486159179851},{"$f":"E6/G6","v":1.0121012101210121},{"$f":"F6/H6","v":1.0056320109614867}]
[null,"引張・性能2",7.814812283406412E-3,38757.148060313317,7.8200000000000006E-3,38758.910523450577,7.7970000000000001E-3,38880,1.0022845047334119,0.99684022788871696,1.0029498525073748,0.99688555873072471]
[null,"引張・性能3",1.0796495314519209E-2,39123.770726952847,1.0800000000000001E-2,39124.109818199518,1.076E-2,39230,1.0033917578549449,0.99729214190550208,1.003717472118959,0.99730078557735202]
[null,"圧縮",1.8978646161139333E-2,38710.005199435152,1.898E-2,38709.839621201609]
[]
[null,"橋軸直交方向"]
[null,null,"限界値計算",null,"Mφ計算",null,"道示計算例",null,"比（限界値計算）",null,"比（Mφ計算）"]
[null,null,"φ","M","φ","M","φ","M","φ","M","φ","M"]
[null,"ひび割れ"]
[null,"初期降伏"]
[null,"引張・性能2"]
[null,"引張・性能3"]
[null,"圧縮"]
[null,"(注）上記で「限界値計算」は「分割法による矩形断面のMφ限界値計算」により、「Mφ計算」は「分割法によるRC断面のMφ計算」により計算したものである"]